

**Invitation to Tender (ITT)**

**Establishment of gravity feed piped water scheme at:**

 **Nyabamba Clinic,**

**Ndima Primary/Community**

**and Muchadziya Primary/Community**

 **(supply and fix)**

**REF: ZW-ZCQ-CHM-0220**

|  |
| --- |
| **GOAL has zero tolerance towards fraud, bribery and corruption****GOAL does not ask for money for bids. If approached for money or other favours, if you have any suspicions of attempted fraud, bribery or corruption please report immediately to email** **speakup@goal.ie****Please provide as much detail as possible with any reports** |

# About GOAL

GOAL is an international humanitarian agency, currently operating in 13 countries worldwide, dedicated to alleviating the suffering of the poorest of the poor. We are a non-denominational, non-governmental and non-political organisation. For more information on GOAL and its operations please visit [www.goal.ie](http://www.goal.ie).

GOAL has been working in Zimbabwe since 2002, its country programme focuses on two of GOAL’s three strategic sectors: health (including WASH and health accountability programming) and livelihoods.

GOAL Zimbabwe’s Country office is in Harare at #73 Harare Drive, Northwood Mount Pleasant, Harare.

GOAL Zimbabwe intend to install 3 Piped water schemes in Chimanimani at Muchadziya, Nyabamba and Ndima. We are therefore inviting suitable qualified contractors to submit their bids.

# Proposed Timelines

|  |  |  |
| --- | --- | --- |
| **Line** | **Item** | **Date**  |
| 1 | ITT published  | 12th of May 2020 |
| 2 | Closing date for clarifications | 26th of May 2020 |
| 3 | Closing date and time for receipt of Tenders | 3rd of June 2020 |
| 4 | Tender Opening Location | Goal Offices 73 Harare Drive, Mt Pleasant Harare  |
| 5 | Tender Opening Date and time  | 4th of June 2020 at 1500hrs |

# Overview of requirements

## Overview

Please see below overview of the requirements under points 3.2 – 3.3 – 3.4.

## Objectives

* To establish three (3) new gravity fed water systems including accessories, control valves, fittings and tanks in Nyabamba, Ndima and Muchadziya in Chimanimani district.
* Supply and install storage water tanks as per designs to be mounted either on elevated steel frame or masonry plinth.
* To construct break pressure tanks and flow split chambers at designated points.
* Supply and install water delivery pipelines and all components from spring boxes to elevated tanks and to the taps.
* To conduct testing of piping to conduct leak detection along the installed pipes.
* To test for water conveyance efficiency on the established systems.
* To ensure water disinfection of all the pipework in the installations.
* To ensure that all the taps in the system are delivering the requisite flow.

## Works Specification

GOAL invites prospective contractors to reply to this Invitation to Tender (ITT) and submit tenders for the Establishment of gravity feed piped water scheme at Nyabamba Clinic, Ndima Primary/Community and Muchadziya Primary Community (supply and fix) in Chimanimani.

## Scope of work

Contractors are required to supply and install piping and components for 3 piped water schemes at Ndima, Muchadziya and Nyabamba. The installations shall all derive water from springs with the contractor expected to construct the spring box, break pressure tanks, tank stands and install all the required piping and communal tap stands with secured flow control valve. The contractor is expected to supply and install all the plastic tanks and fittings as required, throughout the systems.

The system should include UV resistant tanks and galvanised iron (GI) pipes above ground and HDPE piping for water conveyance below ground. For structures requiring masonry works, cement of gauge 42.5 is expected with sufficient structural strength expected on completion. These structures include spring boxes, break pressure tanks and split flow chambers.

Typical component lives should be:

* 25 years for all the GI pipes, HDPE pipes and plastic tanks.
* Civil Structures: 30 years / civil works-frames: 30 years without major repair.

**The complete bid offer shall include the price for:**

* Transport of equipment, materials and components to the sites.
* Construction of all system components including spring box, break pressure tanks, flow splitting chambers, transfer and distribution pipelines and tapstands.
* Where erection of elevated tank stands is required, plastic tanks will be mounted on pre-fabricated framework (of galvanised steel or similar long-lasting alternative) at a height above ground level as prescribed in the designs, or mounted on a concrete/masonry platform at the height as specified in the drawings.
* NOTE: Where pre-fabricated steel platform is to be used, the design of the framework must be accompanied by a structural certificate or a design certified by a qualified, experienced structural engineer.
* Pipe installation with pipes buried to a minimum of 0.60m depth by 0.40m width for normal pipes and up to 1.2m depth by 0.40m width for pipes crossing roads.
* Pressure testing of pipelines prior to back filling of trenches (this may be completed in phases).
* Disinfection of the system prior to commissioning and use.
* Full testing and commissioning of completed installation with water delivered to the elevated tank and including system check-up. An electronic copy of the test certification will be provided to GOAL technical focal point before final payment is made.
* .

It is strongly recommended as much as possible to visit the site prior to submitting the offer

### **Works Description and Specifications for the piped water schemes**

Water pump and pipework, spring boxes, pressure break tanks, storage tank and distribution pipe with tapstands to be installed in all the 3 host communities.

All plastic tanks to include all inlet and outlet fittings, overflow and washout. To include valves on each of the outlets. Tank to be of PVC or HDPE, certified as suitable for potable water. To include all foundation works. Inlet should be equipped with float switch.

**Pipe Connections**

Pipe to be buried in trenches with backfill around the pipe using material free of stones or detritus. All backfill to be well compacted. All pipes to be butt fusion welded. Pipes to be thoroughly cleaned before installation and all pipe ends to be capped at all times. Item to include all Tee and bend fittings as required. All pipework to be pressure tested using any standard method.

The main line should be placed far enough underground that it is protected from structural damage. A minimum depth of 0.60m depth and 0.40m width shall be used. A depth of 1.2m depth is recommended where the line passes through roads. The pipeline shall be laid along the straightest possible route; along the same route as the hydraulic survey on the design. Where the slope changes from rise to fall an air release shall be installed and where the slope changes from fall to rise a washout shall be installed. Where the flow crosses a stream, appropriate pillar supports over the stream and on either side shall be constructed by the contractor. If there are pre-existing pillars these can be used after approval from the GOAL staff. The route of the pipeline shall be marked via the use of permanent concrete pegs after backfilling. These pegs shall indicate pipe material and direction.

**Pipe Material**

HDPE pipes will be used for the transfer and distribution lines of the system, with exception to any gorge crossings, areas where pipes will be exposed, or buried above the minimum desired depth. In such circumstances, GI pipes shall be used and secured to the rock/ground using masonry/ concrete piers every 3m. The pipe material and specification shall be as indicated on the drawings (generally as PE80, SDR11, and PN12.5). Connections shall be either compression or welded on the transmission line and compression fittings shall be used on the distribution network to facilitate future modification if necessary.

**Air Release Valve**

At all significant high points of the transfer line an air release valve shall be installed to release pressure. Where control / shut off valves are installed on the outlet to a spring box or break-pressure tank, a breather pipe shall be used to introduce air downstream of the valve. In this way, if the valve is closed it will avoid creation of vacuum inside the pipe and risking structural damage to the pipe wall/ joints or ingress of contaminants.

**Washouts**

Suspended particles in the water tend to settle out at low points in the pipeline or where the flow velocity is too small. Therefore, at all low points the contractor shall install a washout valve or standpipe. The contractor shall ensure that the washout pipe shall be of the same size as the pipeline at the point of installation. The washout valves shall be well protected inside a valve chamber and the washout shall discharge to a nearby ditch or channel.

**Sectional Valves**

Sectional valves shall be installed by the contractor to enable repair of the system when the need arises or to ration flow in drought scenarios.

On lengthy mainlines, these shall be situated every 1.5 to 2km. On distribution lines, these shall be installed so that they control three to five stand taps and on branch lines these will be located at a branch off. The contractor shall also ensure that a sectional valve be combined with an air release or wash out.

**Spring Box**

The contractor shall be responsible for the construction of the Spring Box as per attached designs. The spring boxes will use PVC pipes for collection and diversion of water into the spring boxes as well as conveyance of the flow out of the spring boxes. The spring box is a masonry structure constructed from rock and cement/mortar on a hard-undecomposed foundation.

The contractor shall construct the spring boxes using cement/mortar mix of (1:4 cement:sand) for both the retaining dam wall and the spring box walls. The collecting PVC pipe is of diameter 75mm to 110mm and this pipe is perforated and covered by a stone and gravel pack. Above the stones is a poly plastic sheet (or puddle clay) as illustrated in the design. The spring box is covered by a concrete slab of 70mm thickness with handles made from deformed bars. The size of the cover shall be such that 2 men may remove it without undue strain.

The spring box slab is reinforced using gabion mesh wire of aperture 0.05mx0.05m. The outlet pipe is composed of a galvanised pipe (GI). The drain pipe and the overflow are PVC pipes Class 9/12. The following steps are to be observed during spring box construction

* Excavation
* Construction of catchment
* Construction of collection / sedimentation chamber
* Laying of source lines
* Backfilling of catchment with filter package
* Refilling of earth cover and completion of protection zone

**Spring Catchment**

The contractor shall ensure that the spring box catchment is protected from surface overflow by a drainage ditch and from animals by a sturdy fence. The radius of the protected area must be at least 10 m from the box. Within this area shall be planted with grass and outside of a radius of about 10 m the protection zone shall have trees planted in it. Please refer to drawings for guidance.

**Break-Pressure Tanks**

Water flow shall be channelled to break-pressure tanks as per designs.. The break- pressure tank is designed with two compartments. The first compartment acts as a sedimentation basin, allowing any solids to fall to the bottom. Located slightly above the second compartments floor, is the exit pipe. The tank is designed with an overflow pipe, in case of a blockage in the pipe downstream. A ball valve (float valve) shall be installed (where indicated) at the inlet to the break pressure tank.

The tanks are to be partially buried. As per the design, the tank shall have a cast concrete roof slab, reinforced with gabion mesh wire with aperture size 50mm x 50mm. The roof slab shall contain handles made from 10mm deformed bars. The size of the cover slab shall be such that 2 men may remove it without undue strain.

The washout and drain pipes are all of 50mm with the overflow set at 75mm external diameter. GI pipes are recommended as inlet, outlet overflow, washout and drainage pipes. The cement used for construction shall be 42.5 gauge. The mix for masonry construction shall be 1:4.

**Storage Tanks and Tank Stands**

Water storage tanks for specified points shall be standard LLDPE tanks of volume as specified by the designs. These tanks shall be UV Resistant and BPA free.

The tanks shall rest on the ground on tank stands or on low concrete platforms as specified in the designs.

**Tap stands**

Tap stands with concrete apron (1.5m diameter) and drainage channel (>4m) to soakaway or suitable drainage ditch. Each tap stand to have an isolation and control valve. Control valve used to set max flow rate to range 0.2-0.22l/s. the two valves to be protected from tampering by use secure valve box made of GI pipe with narrow opening in end cap. Refer to drawing XX.

**Security Fencing**

1.5m height wire mesh fencing with steel poles every 2 meters distance shall be supplied for the spring box catchment protection. Poles made of 2" GI pipe, 2.1 meters length each with 0.6 meters mounted in concrete footing (0.4x0.4x0.6 m3) below ground.

**Pressure Testing and Commissioning**

The pipe trench should be partially backfilled to hold the pipe in place, and a pressure test done before the trench is completely backfilled, so that leaks can be detected and rectified. When a section of pipe has been laid, it should be plugged at the ends (with valve to release air) and filled with water to a pressure of about 50% above the normal pressure expected during operation (up to the maximum rated pressure of the pipe). This pressure should be maintained for about 24 hours to the satisfaction of the GOAL staff.

The transmission main shall be disinfected before being placed in use. This shall be done by placing calcium hypochlorite in the pipe as it is being laid in an amount to make a chlorine solution of about 100 mg/I. The pipe on completion will be filled with water and allowed to stand. If this cannot be done during installation, the solution shall be prepared outside and placed into the pipe line. The EHT and the GOAL staff shall supervise over the testing process.

### **Planning and Scheduling**

**Human Resources**

The contractor shall be responsible for the installation activities for the piped water schemes. The skilled jobs for the construction of a gravity-flow system are pipe-laying (plumbing work), concrete construction and general civil engineering.

Community members shall be involved in some of the tasks under the supervision of the contractor. The activities requiring community participation are as follows:

* clearing the pipeline routes;
* transportation of materials to required points;
* digging the trenches;
* erecting fences or hedges around the spring and tapstands;
* site cleaning after works

GOAL staff shall assist the contractors in contacting the community members in preparation for the works. The workers shall work on a cash for work basis up to the completion of the works.

**Completion Dates**

The assignment is expected to last for a duration of 8 (Eight) weeks from signature of contract for each scheme.

**Estimated time for completion of individual activities**

|  |  |  |
| --- | --- | --- |
| **Item** | **Persons Required** | **Duration** |
| Spring catchment  | 10 | 2 Weeks |
| Constructing break pressure tanks, concrete structures | 8 | 4 Weeks |
| Constructing tapstand  | 5 | 2 Weeks |
| **Item** | **Rate per Person day** |
| Pipe Installation | 50m/person/day |
| Excavation of Trench (up to 60 cm)  | 5m/person/day |
| Backfilling | 12m/person/day |

**Projected Order of Activities**

|  |  |
| --- | --- |
| **Month** | **Order of Activities** |
| 1 | * Purchase of materials and equipment (pipes, cement)
* Recruitment of labourers
* Planning community participation criteria
 |
| 1 | * Spring catchment works
* Construction of particular concrete structures (tanks stands, break-pressure tanks etc.)
 |
| 1 | * Start of trench-digging, installation of pipes, partial backfilling
* Continuation of community participation programme
 |
| 2 | * Construction of tapstands
* Continuation of community participation programme
 |
| 2 | * Filling pipes with water and testing
* Rectifying leaks
* System Disinfection
* Completion of site (fencing around tapstands etc.)
* Evaluation
 |

|  |
| --- |
|  |

**A full list of equipment offered should be included together with their technical specifications.**

### Servicing

Recommended service intervals for each component should be stated along with parts costs, time and skill level required to service.

### Spare Parts

Parts should be replaceable at a low level of modularity to reduce replacement costs. Spare parts must be readily available on site within 5 days. The bidder must recommend the items that would be supplied in line with manufacturer’s recommendation (3 and 5 yr spares).

### Design

Designs have been attached to this document. The contractor shall install and plan for activities as based on the attached designs. In the case of deviation, communication shall be made to GOAL staff and approved for consideration.

The designs include overall schematics, hydraulic design, break tank design, spring box design and flow splitter.

### Warranty

The bidder should detail as part of the technical proposal, the warranty period and the technical support after installation. It is important as well to indicate the availability of service within the country or at least, in a timely fashion.

**Environment Protection**

In carrying out the tasks, the contractor must ensure that environment protection is observed during the project and after. The contractor shall adhere to relevant National regulations and guidelines on Environmental protection that apply to the project. The Contractor shall ensure that all their personnel are aware of Environmental protection requirements

# Terms of the Procurement

GOAL requires your company to provide accurate and true information in both your quote and any other information provided verbally or through email throughout the process of Tender document submissions and tender clarifications. All information provided to GOAL as part of this tender process should be accurate, should any false information be provided on behalf your company this will lead to exclusion from the Bid process.

## Procurement Process

### This competition is being conducted under GOALs Tender process. Invitation to Tender Procedure.

### The Contracting Authority for this procurement is GOAL.

### This procurement is funded by ECHO and the tender and any contracts or agreements that may arise from it are bound by the regulations of this donor.

## Clarifications and Query Handling

### GOAL has taken care to be as clear as possible in the language and terms it has used in compiling this ITT. Where any ambiguity or confusion arises from the meaning or interpretation of any word or term used in this document or any other document relating to this tender, the meaning and interpretation attributed to that word or term by GOAL will be final. GOAL will not accept responsibility for any misunderstanding of this document or any others relating to this tender.

### **Requests for additional information or clarifications can be made up to 26th of May 2020 by 17.00hrs- and no later**.

### Any queries about this ITT should be addressed in writing to GOAL Zimbabwe via email on **procurementzimbabwe@zw.goal.ie** referencing the tender reference number, and answers shall be collated and shared with all bidders in a timely manner.

## Conditions of Tender Submission

### Tenders must be completed in English.

### Tenders must respond to all requirements set out in this ITT and complete their offer in the Response Format.

### Failure to submit tenders in the required format will, in almost all circumstances, result in the rejection of the tender. Failure to resubmit a correctly formatted tender within 3 (three) working days of such a request will result in disqualification.

### Tenderers must disclose all relevant information to ensure that all tenders are fairly and legally evaluated. Additionally, tenderers must provide details of any implications they know or believe their response will have on the successful operation of the contract or on the normal day-to-day operations with GOAL. Any attempt to withhold any information that the tenderer knows to be relevant or to mislead GOAL and/or its evaluation team in any way will result in the disqualification of the tender.

### Tenders must detail all costs identified in this ITT. Additionally, tenders must detail any other costs whatsoever that could be incurred by GOAL in the usage of services and/or the availing of options that may not be explicitly identified/requested in this ITT. Tenderers’ attention is drawn to the fact that, in the event of a Contract/ Framework Agreement being awarded to them, the attempted imposition of undeclared costs will be considered a condition for default.

### Any conflicts of interest (including any family relations to GOAL staff) involving a tenderer must be fully disclosed to GOAL particularly where there is a conflict of interest in relation to any recommendations or proposals put forward by the tenderer.

### GOAL will not be liable in respect of any costs incurred by respondents in the preparation and submission of tenders or any associated work effort.

### Tenders are required to visit the proposed sites and assess the areas and include in their submission an assessment report

### GOAL will conduct this tender, including the evaluation of responses and final awards in accordance with the detail set out at in the Evaluation process. Tenders will be opened by at least three designated officers of GOAL.

### GOAL is not bound to accept the lowest, or any tender submitted.

### GOAL reserves the right to split the award of this contract between different bidders in any combination it deems appropriate, at its sole discretion.

### The Supplier shall seek written approval from GOAL before entering into any sub-contracts for the purpose of fulfilling this contract. Full details of the proposed subcontracting company and the nature of their services shall be included in the written request for approval. Written requests for approval must be submitted to the contract focal point.

### GOAL reserves the right to refuse any subcontractor that is proposed by the Supplier.

### GOAL reserves the right to negotiate with the Supplier who has submitted the lowest Bid that fully meets the technical requirements, for the purpose of seeking revisions of such Bid to enhance its technical aspects and/or to reduce the price.

### Information supplied by respondents will be treated as contractually binding. However, GOAL reserves the right to seek clarification or verification of any such information.

### GOAL reserves the right to terminate this competition at any stage.

### Unsuccessful tenderers will be notified.

### GOAL’s standard payment terms are by bank transfer within 30 days after satisfactory implementation and receipt of documents in order. Satisfactory implementation is decided solely by GOAL.

### This document is not construed in any way as an offer to contract.

### GOAL and all contracted suppliers must act in all its procurement and other activities in full compliance with donor requirements. Any contract(s) that arise from this ITT may be financed by multiple donors and those donors and/or their agents have rights of access to GOAL and/or any of its suppliers or contractors for audit purposes. These donors may also have additional regulations that it is not practical to list here. Submission of an offer under this ITT assumes Service Provider acceptance of these conditions.

### **Terrorism and Sanctions:** GOAL does not engage in transactions with any terrorist group or individual or entity involved with or associated with terrorism or individuals or entities that have active exclusion orders and/or sanctions against them. GOAL shall therefore not knowingly purchase supplies or services from companies that are associated in any way with terrorism and/or are the subject of any relevant international exclusion orders and/or sanctions. If you submit a bid based on this request, it shall constitute a guarantee that neither your company nor any affiliate or a subsidiary controlled by your company are associated with any known terrorist group or is/are the subject of any relevant international exclusion order and/or sanctions. A contract clause confirming this may be included in an eventual purchase order based on this request.

### **Supersedes**

This ITT supersedes and replaces all previous documentation, communications and correspondence between GOAL and Tenderers, and Tenderers should place no reliance on such previous documentation and correspondence. Tenderers to this ITT should study the contents of this ITT carefully, including the information and documents contained in the Appendices.

## Quality Control

3rd party companies or Government of Zimbabwe may be contracted by GOAL may carry out random quality inspections of work carried out by the contracted parties. The cost of the quality control inspections will be covered by GOAL.

In cases of contractor’s quality default in addition to Liquidated Damages section 21 of GOAL Standard Terms and Conditions the costs of the quality inspections and loading surveyor will be charged to the Service Provider.

Sub-contracting: note section III in GOAL Standard Terms and Conditions[[1]](#footnote-2). GOAL may choose to visit vendors, including sub-contractors (if any) as per of the evaluation process.

## Submission of Tenders

Tenders must be delivered in the following way:

1. Delivered by hand in a sealed, stamped envelope marked **‘ZW-ZCQ-CHM-0220’** to the address below before the deadline**: GOAL Zimbabwe, 73 Harare Drive, Northwood, Mount Pleasant, Harare, Zimbabwe**; and will be accepted during normal working hours for the country of submission. Please note that the GOAL office will not be open during weekends or public holidays.

The envelope should also be marked “**Not to be opened before the 4th of June 2020.**

Proof of sending is not proof of reception. Late delivery will result in your bid being rejected. Envelopes found open at the tender opening will be rejected. All information provided must be perfectly legible.

1. Electronically with your financial and technical offers in separate emails to tenders@goal.ie and in the subject field state:
2. **‘ZW-ZCQ-CHM-0220’: Water piped scheme Chimanimani District**
3. **Name of your company with the title of the attachment**
4. **Number of emails that are sent e.g. 1 of 3, 2 of 3, 3 of 3.**

Please note that ALL documents attached to emails must either be in PDF format, or scans of hard copy documents. No excel, word or other ‘soft copy’ documents will be accepted, and bids submitted using soft copy documents may be rejected.

## Tender Opening Meeting

Tenders will be opened at **15:00Hrs** on **4th of June 2020** at the following location:

**GOAL Zimbabwe – Harare Office**

**73 Harare Drive, Mt Pleasant**

**Harare – Zimbabwe**

One **authorised representative** of each tenderer may attend the opening of the bids. Companies wishing to attend are requested to notify their intention by sending an e-mail at least 48 hours in advance to the following e-mail address: **procurementzimbabwe@zw.goal.ie**. This notification must be signed by an authorised officer of the tenderer and specify the name of the person who will attend the opening of the bids on the tenderer's behalf.

Contractors are invited to attend the Tender Opening Meeting at their own cost.

**Note: Due to the evolving nature of the Covid19 situation, companies who send an email to notify their intention to attend will be informed by return of email whether the tender public opening will proceed. This decision will be in line with local government regulations and GOAL’s health and safety decision at that time.**

# Evaluation Process

## Evaluation stages

Tenderers will be considered for participation in the Contract subject to the following qualification process:

|  |  |  |
| --- | --- | --- |
| **Phase #** | **Evaluation Process Stage**  | **The basic requirements with which proposals must comply with** |
| *The first phase of evaluation of the responses will determine whether the tender has been submitted in line with the administrative instructions and meets the essential criteria. Only those tenders meeting the essential criteria will go forward to the second phase of the evaluation.* |
| 1 | **Administrative instructions** | 1. **Closing Date:**

Proposals must have met the deadline stated in section 2 of these Instructions to Tenderers, or such revised deadline as may be notified to Tenderers by GOAL. Tenderers must note that GOAL is prohibited from accepting any proposals after that deadline.1. **Submission Method:**

Proposals must be delivered in the method specified in section 4.5 of this document. GOAL will not accept responsibility for tenders delivered by any other method. Responses delivered in any other method may be rejected.1. **Format and Structure of the Proposals:**

Proposals must conform to the Response Format laid out in sections 6 of these Instructions to Tenderers or such revised format and structure as may be notified to Tenderers by GOAL. **Failure to comply with the prescribed format and structure may result in your response being rejected at this stage.** 1. **Confirmation of validity of your proposal:**

The Tenderers must confirm that the period of validity of their proposal is not less than 90 (ninety) days. |
| **2** | **Essential Criteria** | 1. Minimum mandatory requirements of specifications as stated in **Annex 2** must be met (or better) the required standard. 2. Must be a registered company under the Zimbabwe laws. 3. At least three (3) traceable references of previous similar construction contracts of works that can be visit for viewing.4. Must provide a bank statement for the last 3 months stamped by the bank.  |
| *Each proposal that conforms to the Essential and Qualification Criteria will be evaluated according to the Award Criteria given below by GOAL.*  |
| **3** | **Award Criteria** | Tenders will be awarded marks under each of the award criteria listed in this section to determine the most economically advantageous tenders.**1. Price** **2. Lead Time****3. Experience in water pipeline installations (at least three similar jobs)****4. Staff Capacity****5. Technical expertise** |
|  |
| **4** | **Post selection**  | References and ATCS checks are found to be clear and quality is assessed. |

## Tender Evaluation

GOAL will convene an evaluation team which may include members of the Finance, Logistics, Programmes, Donor Compliance and Internal Audit, as well as 3rd Party technical input.

During the evaluation period clarifications may be sought by e-mail from Tenderers. Clarifications may include testimonials from customers in support of particular aspects of a tender, whether such aspects are contained in the original submission or in subsequent responses to requests for clarification. Deadlines will be imposed for the receipt of such clarifications and failure to meet these deadlines may result in the disqualification of the Tender or loss of marks. Responses to requests for clarification shall not materially change any of the elements of the proposals submitted. Unsolicited communications from Tenderers will not be entertained during the evaluation period.

## AWARD CRITERIA

All prices must be in **United States Dollars (USD)** and a comprehensive and clear breakdown of prices must be shown as part of the financial offer – any transport fees, taxes, component parts, packing fees etc. must be shown separately.

Prices offered will be evaluated on full cost basis (including all fees and taxes).

Marks for cost will be awarded on the inverse proportion principle (shown below):

**Scorevendor = maximum score x (pricemin / pricevendor)**

For the purposes of this ITT,

|  |  |  |
| --- | --- | --- |
| **No** | **AWARD CRITERIA** | **Conditions** |
| **1** | **Price** | This is the total price for the installation of gravity feed piped water scheme at Nyabamba Clinic, Ndima Primary/Community and Muchadziya Primary/Community. (Fix and supply).  |
| **2** | **Lead time**  | This is the number of days it takes to complete of gravity feed piped water scheme at Nyabamba Clinic, Ndima Primary/Community and Muchadziya Primary/Community. (Fix and supply).  |
| **3** | **Experience in installation of water pipelines**  | Previous experience in similar works carried out by the contractor - stating the number of project and size of each (at least 3 previous jobs) |
| **4** | **Staff Capacity** | Detailed description of number of staff that will work on the contract (Include the organogram for this project) |
| **5** | **Technical expertise** | Technical expertise of staff who will carry out the works on this contract (include CVs for key staff who will be working on the project) |

Scores for the Financial Offer will be calculated by comprising maximum available marks by inverse proportion: Offered by Tenderer price divided by the minimum price offered in this Tender.

# Response Format

## Introduction

All proposals must conform to the response format laid out below. Where a tender does not conform to the required format the Tenderer may be requested to resubmit it in the correct format, on the understanding that the resubmission cannot contain any material change from the original. Failure to resubmit in the correct format within **3 (three) working days** may result in disqualification.

By responding to this ITT, each Tenderer is required to accept the terms and conditions of this ITT and to acknowledge and confirm their acceptance by returning a signed copy with its response. Should a Tenderer not comply with these requirements, GOAL may, at their sole discretion, reject the response.

The Tenderer shall provide a response to this ITT document on a paragraph-by-paragraph basis, in the order presented in this document. If the Tenderer wishes to supplement their Response to any section of the ITT specifications with a reference to further supporting material, this reference must be clearly identified, including section and page number.

## Submission Checklist

FAILURE TO SUMBIT ALL THE DOCUMENTATION BELOW MAY LEAD TO REJECTION OF OFFER

|  |  |  |  |
| --- | --- | --- | --- |
| **Line** | **Item** | How to submit  | **Tick attached**  |
| Physical submission |  |
| 1. 1
 | This checklist | Tick and submit.  |  |
| 1. 2
 | Company Details (Appendix 1) | Complete, sign, stamp and submit.  |  |
| 1. 4
 | Financial Offer (Appendix 2) | Complete, sign, stamp and submit.  |  |
|  | Technical Offer (Appendix 2) | Complete, sign, stamp and submit  |  |
| 1. 5
 | GOAL Terms and Conditions (Appendix 3)GDPR (Appendix 4 | Sign, stamp and submit. |  |
| 1. 10
 | Certificate of incorporation (CI) | Stamp and submit. |  |
| 1. 11
 | CR 14 | Stamp and submit. |  |
| 1. 12
 | CR 6 | Stamp and submit. |  |
| 1. 13
 | Vat Registration Form (VAT4) | Stamp and submit. |  |
| 1. 14
 | Valid Tax Clearance Certificate (ITF263) | Stamp and submit. |  |
| 1. 15
 | Previous experience in similar works. | Stamp and submit. |  |
|  | Bank statement signed and stamped by the bank  | Stamp and Submit |  |
|  | Gantt Chart  | Stamp and Submit |  |
|  | Any licenses and certificates required to carry out construction  | Stamp and Submit |  |
|  | Bidders Signature and stamping (All Pages) | Sign and submit |  |

# Appendix 1 - Company details

# Contact Details

This section must include the following information regarding the Individual or Company and any partners or sub-contractors:

|  |  |
| --- | --- |
| Name of the prime Tenderer |  |
| Registered address of the prime Tenderer |  |
| Company Name |  |
| Address |  |
| Previous Name(s) if applicable |  |
| Registered Address if different from above |  |
| Registration Number  |  |
| Telephone |  |
| E-mail address |  |
| Website address |  |
| Year Established |  |
| Legal Form. Tick the relevant box | o Companyo Partnership | o Joint Ventureo Other (specify): |
| VAT/TVA/Tax Registration Number  |  |
| Directors names and titles and any other key personnel  |  |
| Please state name of any other persons/organisations (except tenderer) who will benefit from this contract (GOAL compliance matter) |  |
| Parent company |  |
| Ownership |  |
| Do you have associated companies? Tick relevant box. If YES – provide details for each company in the form of additional table as per **Contact Details** | oYes oNo |
|  | **Primary Contact** | **Secondary Contact** |
| Name |  |  |
| Current Position in the Organisation: |  |  |
| No. of years working with the Organisation: |  |  |
| Email address |  |  |
| Telephone |  |  |
| Mobile |  |  |
| Other Relevant Skills: |  |  |
| Institution (Date from – to) |  |  |
| Degrees or Diplomas |  |  |

## Profile

Tenderers should note that the information requested below will be required under the Essential Criteria. In total the answers to these questions should take no more than 2 pages

|  |  |  |
| --- | --- | --- |
| **No** | **Description** | **Response** |
| 1 | An outline of the scope of business activities, and in particular details of relevant experience regarding contracts of this nature |  |
| 2 | Provide details of three contracts of a similar nature carried out in the last two years (please state customer name, location, value of contract, and dates) |  |
| 3 | The number of years the Tenderer has been in business in its present form |  |
| 4 | A statement of overall turnover and turnover in respect to the goods and services offered under the proposed agreement for the last three years as per the following table: |
| **Year** | **Overall Turnover USD** |  |
| **2019** |  |  |
| **2018** |  |  |
| **2017** |  |  |
| 5 | Where the contractor proposes to use subcontractors or resellers/ distributors in the execution of the agreement this section should include details of the quality assurance mechanisms used by the Supplier to monitor the activities of its subcontractors or resellers/ distributors. Suppliers should note that commitment to quality, as evidenced by the existence of such quality control procedures, will be used as a Qualification Criteria  |  |
| 6 | Any other relevant information |  |

## References

At least **3 (three) relevant references** who may be contacted on a confidential basis to verify satisfactory execution of contracts must be supplied. These references may not be GOAL personnel or related to a GOAL contract. Respondents should supply this information for each of the references in the following format:

|  |  |  |
| --- | --- | --- |
| 1 | Name |  |
| Organisation |  |
| Address |  |
| Phone |  |
| Fax |  |
| Email |  |
| Nature of supply |  |
| Approximate value of contract |  |
| 2 | Name |  |
| Organisation |  |
| Address |  |
| Phone |  |
| Fax |  |
| Email |  |
| Nature of supply |  |
| Approximate value of contract |  |
| 3 | Name |  |
| Organisation |  |
| Address |  |
| Phone |  |
| Fax |  |
| Email |  |
| Nature of supply |  |
| Approximate value of contract |  |
| 4 | Name |  |
| Organisation |  |
| Address |  |
| Phone |  |
| Fax |  |
| Email |  |
| Nature of supply |  |
| Approximate value of contract |  |

# Declaration re Personal and Legal circumstances

|  |  |  |
| --- | --- | --- |
| THIS FORM MUST BE COMPLETED AND SIGNED BY A DULY AUTHORISED OFFICER OF THE TENDERERS’ ORGANISATION. Please tick Yes or No as appropriate to the following statements relating to the current status of your organisation | Yes | No |
| 1 | The Tenderer is bankrupt or is being wound up or its affairs are being administered by the court or has entered into an arrangement with creditors or has suspended business activities or is in any analogous situation arising from a similar procedure under national laws and regulations |  |  |
| 2 | The Tenderer is the subject of proceedings for a declaration of bankruptcy, for an order for compulsory winding up or administration by the court or for an arrangement with creditors or of any other similar proceedings under national laws and regulations |  |  |
| 3 | The Tenderer, a Director or Partner, has been convicted of an offence concerning his professional conduct by a judgement which has the force of res judicata or been guilty of grave professional misconduct in the course of their business |  |  |
| 4 | The Tenderer has not fulfilled its obligations relating to the payment of taxes or social security contributions in Ireland or any other State in which the tenderer is located |  |  |
| 5 | The Tenderer, a Director or Partner has been found guilty of fraud |  |  |
| 6 | The Tenderer, a Director or Partner has been found guilty of money laundering |  |  |
| 7 | The Tenderer, a Director or Partner has been found guilty of corruption |  |  |
| 8 | The Tenderer, a Director or Partner has been convicted of being a member of a criminal organisation |  |  |
| 9 | The Tenderer has been guilty of serious misrepresentation in providing information to a public buying agency |  |  |
| 10 | The Tenderer has contrived to misrepresent its Health & Safety information, Quality Assurance information, or any other information relevant to this application |  |  |
| 11 | The Tenderer has colluded between themselves and other bidders (a bidding ring), and/or the Tenderer has had improper contact or discussions with any member of GOAL staff and/or members of their family |  |  |
| 12 | The Tenderer is fully compliant with the minimum terms and conditions of the Employment Law and with all other relevant employment legislation, as well as all relevant Health & Safety Regulations in the countries of registration and operations  |  |  |
| 13 | The Tenderer has procedures in place to ensure that subcontractors, if any are used for this contract, apply the same standards. |  |  |
| 14 | Consistent with numerous United Nations Security Council resolutions including S/RES/1269 (1999), S/RES/1368 (2001) and S/RES/1373 (2001), GOAL is firmly committed to the international fight against terrorism, and in particular, against the financing of terrorism. It is the policy of GOAL to seek to ensure that none of its funds are used, directly or indirectly, to provide support to individuals or entities associated with terrorism. In accordance with this policy, **the Tenderer undertakes to use all reasonable efforts to ensure that it does not provide support to individuals or entities associated with terrorism.** |  |  |
| I certify that the information provided above is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this declaration may lead to my organisation being excluded from participation in future tenders. |
| Date |  |
| Name |  |
| Position |  |
| Telephone number  |  |
| Signature and full name |  |

# self-declaration of finance and tax

|  |
| --- |
| **GOAL operates within the law of the country of operation and within international legal requirements. GOAL expects all companies to fulfil their legal obligations, including meeting their tax liabilities and duties in accordance with the relevant tax legislation. Please comment below if you feel there are any matters you need to bring to GOAL’s attention.** |
| *Please continue on a separate sheet if necessary.*  |

I certify that the information provided above is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this declaration may lead to my organisation being excluded from participation in future tenders.

Signed: (Director) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Print Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Appendix 2 - Financial Offer

* All prices quoted must include VAT and any other cost that are necessary for the completion of the contract
* **All quoted prices must be in foreign currency USD as payment will be made to Nostro FCA account.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Quantity** | **Unit** | **Description**  | **Unit Price** | **Total Cost**  |
| **1** | **each** | **Installation of gravity feed piped water scheme at Nyabamba Clinic** |  |  |
| **Quantity** | **Unit** | **Description**  | **Unit Price** | **Total Cost**  |
| **1** | **each** | **Installation of gravity feed piped water scheme at Ndima Primary/Community in Chimanimani. (supply and fix)**  |  |  |
| **Quantity** | **Unit** | **Description**  | **Unit Price** | **Total Cost**  |
| **1** | **each** | **Installation of gravity feed piped water scheme at Muchadziya Primary/Community in Chimanimani. (supply and fix)**  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Quantity** | **Unit** | **Description**  | **Lead time** |
| **1** | **each** | **Installation of gravity feed piped water scheme at Nyabamba Clinic, Ndima Primary/Community and Muchadziya Primary/Community in Chimanimani. (supply and fix)**  |  |

**Bid Validity: (in days)** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**By submitting this offer, I confirm that all data subjects have specifically consented to the use and storage of their data by GOAL for the purpose of analysing the offers and awarding a contract under this quotation request; and further understood that the personal data may be shared internally within GOAL and externally if required by law and donor regulations; and may be stored for a period of up to 7 years from the award of contract.”**

Signed: (Director) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Print Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**TECHNICAL OFFER**

* Contractor must submit technical proposal to address the following area:
1. The number of personnel that will be working on the contract.
2. Provide the number of days it will take to complete installation of gravity feed piped water scheme at Nyabamba Clinic, Ndima Primary/Community and Muchadziya Primary/Community in Chimanimani. (supply and fix) from the date of awarding of contract.
3. Provide a Gantt Chart for all activities.
4. Similar construction works carried out by the contractors (at least three similar works).

Provide the qualification of the staff that will be working on the contract.

Signed: (Director) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Print Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Appendix 3 – Goal terms and conditions

**TERMS AND CONDITIONS FOR SUPPLY, SERVICE AND WORKS CONTRACTS**

1. SCOPE AND APPLICABILITY

These Terms and Conditions of Contract apply to all provisions of works and services made to GOAL notwithstanding any conflicting, contrary or additional terms and conditions in any other communication from the service provider/contractor. No such conflicting, contrary or additional terms and conditions shall be deemed accepted by us unless and until we expressly confirm our acceptance in writing.

1. LEGAL STATUS

The service provider/contractor shall be considered as having the legal status of an independent contractor vis-à-vis GOAL. The service provider/contractor, its personnel and sub-contractors shall not be considered in any respect as being the employees of GOAL. The service provider/contractor shall be fully responsible for all work and services performed by its employees, and for all acts and omissions of such employees.

1. SUB-CONTRACTING

In the event the Service provider/contractor requires the services of a sub-contractor, the Service provider/contractor shall obtain the prior written approval of GOAL for all sub-contractors. The Service provider/contractor shall be fully responsible for all work and services performed by its sub-contractors and service provider/contractors, and for all acts and omissions of such sub-contractors and service provider/contractors. The approval of GOAL of a sub-contractor shall not relieve the Service provider/contractor of any of its obligations under this Contract. The terms of any sub-contract shall be subject to and conform with the provisions of this Contract.

1. ASSIGNMENT OF PERSONNEL

The Service provider/contractor shall not assign any persons other than those accepted by GOAL for work performed under this Contract.

1. OBLIGATIONS

The service provider/contractor shall neither seek nor accept instructions relating to this contract from any authority external to GOAL Service providers/contractors may not communicate at any time to any other person, government or authority external to GOAL, any information known to them by reason of their association with GOAL which has not been made public, except in the course of their duties or by authorization ofGOAL: nor shall the service provider/contractor at any time use such information to private advantage. The Service provider/contractor shall refrain from any action that may adversely affect GOAL and shall fulfil its commitments with the fullest regard to the interests of GOAL.

 These obligations do not lapse upon termination/expiration of their agreement with GOAL.

1. SERVICE PROVIDER/CONTRACTOR'S RESPONSIBILITY FOR EMPLOYEES

The Service provider/contractor shall be responsible for the professional and technical competence of its employees and will select, for work under this Contract, reliable individuals who will perform effectively in the implementation of this Contract, respect the local customs, and conform to a high standard of moral and ethical conduct. reason of any other claim or demand against the Service provider/contractor.

1. ACCEPTANCE AND ACKNOWLEDGEMENT

Initiation of service or works under this contract by the service provider/contractor shall constitute acceptance of the contract, including all terms and conditions herein contained or otherwise incorporated by reference.

1. WARRANTY

The Services performed warrants upon delivery and for a period of twelve (12) months from the date of completion of the services provided/works completed under this Contract will conform in all aspects to the service and applicable standards specified for such services and any goods or equipment provided as part of the contract and will be free from material defects in workmanship, material and design under normal use. The warranty does not cover damage resulting from misuse, negligent handling, lack of reasonable maintenance and care, accident or abuse by anyone other than the Service provider/contractor.

The Service provider/contractor warrants the services/construction furnished under this Contract conforms to the specifications and to be free from damage and defects in workmanship or materials. This warranty is without prejudice to any further guarantees that the service provider/contractor provides to purchasers. Such guarantees shall apply to the services and works subject to this Contract.

1. CHECKS AND AUDIT

The Service provider/contractor shall allow any external auditor authorised by GOAL to verify, by examining the documents and to make copies thereof or by means of on-the-spot checks of original documents, the implementation of the contract and conduct a full audit, if necessary, on the basis of supporting documents for the accounts, accounting documents and any other document relevant to the financing of the project. The Service provider/contractor shall ensure that on-the-spot access is available at all reasonable times. The Service provider/contractor shall ensure that the information is readily available at the moment of the audit and if so requested, that the data be handed over in an appropriate form. These inspections may take place up to 7 years after the final payment.

Furthermore, the Service provider/contractor shall allow any external auditor authorised by GOAL carrying out verifications as required to carry out checks and verification on the spot in accordance with the procedures set out by the donor or in the European Union legislation for the protection of the financial interests of the European Union against fraud and other irregularities.

To this end, the Service provider/contractor undertakes to give appropriate access to any external auditor authorised by GOAL carrying out verifications as required to the sites and locations at which the project is implemented, including its information systems, as well as all documents and databases concerning the technical and financial management of the action and to take all steps to facilitate their work. Access given to agents of any external auditor authorised by GOAL carrying out verifications shall be on the basis of confidentiality with respect to third parties, without prejudice to the obligations of public law to which they are subject. Documents must be easily accessible and filed so as to facilitate their examination and the Service provider/contractor must inform GOAL of their precise location.

The Service provider/contractor guarantees that the rights of any external auditor authorised by the GOAL carrying out verifications as required to carry out audits, checks and verification shall be equally applicable, under the same conditions and according to the same rules as those set out in this Article, to the Service provider/contractor's partners, and subcontractors. Where a partner or subcontractor is an international organisation, any verification agreement concluded between such organisation and the donor applies.

GOAL, its donors or any of their duly authorized representatives, shall have access to any books, documents, papers, and records of the service provider/contractor which are directly pertinent to the specific program for the purpose of making audits, examinations, excerpts and transcriptions

1. RULE OF ORIGIN AND NATIONALITY

If any rules of origin and nationality are applicable due to donor requirements, limiting the eligible countries for goods, legal and natural persons, such rules shall be stated or referred to in the contract document. In such instances the Supplier must adhere to these rules and be able to document and certify the origin of goods and nationality of legal and natural persons as required.

Failure to comply with this obligation shall lead, after formal notice, to termination of the contract, and GOAL is entitled to recover any loss from the Supplier and is not obliged to make any further payments to the Supplier

1. INSPECTION

The duly accredited representatives of GOAL or the donor shall have the right to inspect the works goods called for under this Contract at Service provider/contractor’s stores, during manufacture, in the ports or places of shipment, and the Service provider/contractor shall provide all facilitates for such inspection. GOAL may issue a written waiver of inspection at its discretion. Any inspection carried out by representatives of GOAL or the donor or any waiver thereof shall not prejudice the implementation of the other relevant provisions of this Contract concerning obligations subscribed by the Service provider/contractor, such as warranty or specifications.

1. FORCE MAJEURE

Force Majeure shall mean Acts of God, strikes, lockouts, discontinuation or termination of donor funding, laws or regulations of operating country, industrial disturbances, acts of the public enemy, civil disturbances, act of war (whether declared or not), explosions blockades, insurrection, riots, epidemics, landslides, earthquakes, storms, lightning, floods, washouts, civil disturbances, and any other similar unforeseeable events which are beyond the parties' control and cannot be overcome by due diligence.

In the event of and as soon as possible and no later than fifteen (15) days after the occurrence of any cause constituting Force Majeure, the Service provider/contractor shall give notice and full particulars in writing to GOAL of such occurrence or change if the Service provider/contractor is thereby rendered unable, wholly or in part, to perform its obligations and meet its responsibilities under this Contract. The Service provider/contractor shall also notify GOAL of any other changes in conditions or the occurrence of any event that interferes or threatens to interfere with its performance of this Contract. On receipt of the notice required under this article, GOAL shall take such action as, in its sole discretion, it considers to be appropriate or necessary in the circumstances, including the granting to the Service provider/contractor of a reasonable extension of time in which to perform its obligations under this Contract, or termination of the Contract if any delay will force an extension to the delivery schedule.

Notwithstanding anything to the contrary in this Contract, the Service provider/contractorrecognizes that the work and services may be performed under harsh or hostile conditions caused by civil unrest. Consequently, delays or failure to perform caused by events arising out of, or in connection with, such civil unrest shall not, in itself, constitute Force Majeure under this contract.

1. DEFAULT

In case the contractor fails to comply with any term of the Contract, including but not limited to failure or refusal to perform the service/works within the time limit specified, they shall be liable for all damages sustained by GOAL, and GOAL may procure the service/works from other sources and hold the contractor responsible for any excess cost occasioned thereby. GOAL may collect damages from the contractor in lieu of purchasing the service/works from other sources. GOAL may by written notice terminate the right of the contractor to proceed with the contract or such part or parts thereof as to which there has been default, or if any service delivery is late, GOAL may cancel such part or the entire Contract.

1. REJECTION

In the case of services performed on the basis of specifications, outcome, pilot or combination thereof, GOAL shall have the right to reject the services or any part thereof if they do not conform with the terms of the Contract in the opinion of GOAL or is not performed or delivered in due time.

When the services or works or any part thereof have been rejected, GOAL shall have the right, without prejudice to the provisions of Article 9, to demand from the Service provider/contractor the immediate re-performance or delivery of acceptable services or works in replacement thereof in accordance with the contract or to purchase other similar services or works elsewhere and to claim from the Service provider/contractor the amount of loss or damages sustained by reason of the default.

Goods or any other part of any works or services, including any built structure thereof in GOAL's possession or at a GOAL programme site which have been rejected by GOAL must be removed or destroyed and removed at the Service provider/contractor's expense within such period as GOAL may specify in its notice of rejection.

After such notice has been dispatched to the Service provider/contractor, the Goods or any other part of any works or services, including any built structure thereof will be held at the latter's risk. Should the Service provider/contractor fail to remove the goods, part of any works or services or built structure as required by the notice of rejection, GOAL may dispose of them, without any liability to the Service provider/contractor whatsoever, in such manner as it deems fit and may charge the cost of removal to the Service provider/contractor.

1. AMENDMENTS

No change in or modification of this Contract shall be made except by prior agreement between GOAL and the Service provider/contractor.

1. ASSIGNMENTS & INSOLVENCY

The Service provider/contractor shall not assign, transfer, pledge or make other disposition of this Contract or any part thereof or of any of the Service provider/contractor’s rights, claims or obligations under this Contract except with the prior written consent of GOAL.

Should the Service provider/contractor become insolvent or should control of the Service provider/contractor change by virtue of insolvency, GOAL may without prejudice to any other rights or remedies, terminate this Contract by giving the Service provider/contractor written notice of termination.

1. PAYMENT

The Service provider/contractor shall invoice GOAL and the terms of payment shall be thirty (30) working days after GOAL has internally confirmed acceptance of services/works and presentation of a legal invoice.

1. ANTI-BRIBERY/CORRUPTION

The Service provider/contractor shall comply with all applicable laws, statutes and regulations relating to anti-bribery and anti-corruption including but not limited to the UK Bribery Act 2010 and the United States Foreign Corrupt Practices Act 1977 (“Relevant Requirements”).

The Service provider/contractor shall have and maintain in place throughout the term of any contract with GOAL its own policies and procedures to ensure compliance with the Relevant Requirements.

No monies are payable to GOAL by the Service provider/contractor in association with the execution of this contract. If the Service provider/contractor is approached by a GOAL member of staff for a payment, commission, ‘kickback’ or associated payment or any other advantage of any kind, they are obliged to report the request or payment directly to GOAL’s Country Director within thirty-six hours. Failure to report any request for payment by a GOAL member of staff or actual payment by the Service provider/contractor to a GOAL member of staff to the GOAL Country Director shall result in the immediate termination of any contract and may result in disqualification of the Service provider/contractor from participation in future contracts with GOAL.

1. ANTI-PERSONNEL MINES

The Service provider/contractor guarantees that it is not engaged in the sale or manufacture, either directly or indirectly, of anti-personnel mines or any components produced primarily for the operation thereof. Any breach of this representation and warranty shall entitle GOAL to terminate this Contract immediately upon notice to the Service provider/contractor, at no cost to GOAL.

1. ETHICAL PROCUREMENT AND PROCUREMENT PRACTICE

The Service provider/contractor represents and warrants that neither it, nor any of its service provider/contractors is engaged in any practice inconsistent with the following code of conduct for service provider/contractors: Employment is freely chosen, freedom of association and the right to collective bargaining are respected, working conditions are safe and hygienic, no child labour/protection of children is ensured, living wages are paid, working hours are not excessive, no discrimination is practiced, regular employment is provided, no harsh or inhumane treatment is allowed, any harm to the environment shall be avoided or limited. Any breach of this representation and warranty shall entitle GOAL to terminate this Contract immediately upon notice to the Service provider/contractor, at no cost to GOAL. Suppliers must adhere to the principles of humanitarian aid.

1. OFFICIALS NOT TO BENEFIT

The Service provider/contractor warrants that no official of GOAL has received or will be offered by the Service provider/contractor any direct or indirect benefit arising from this Contract or the award thereof. The Service provider/contractor will notify GOAL immediately in case any official from GOAL requests any unofficial, or additional payment, or gift to their personal account. The Service provider/contractor agrees that breach of this provision is a breach of an essential term of this Contract.

1. PRIOR NEGOTIATIONS SUPERSEDED BY CONTRACT

This Contract supersedes all communications, representations, arrangements, negotiations, requests for proposals and proposals related to the subject matter of this Contract.

1. INTELLECTUAL PROPERTY INFRINGEMENT

The Service provider/contractor warrants that the use or supply by GOAL of the services sold under this Contract does not infringe on any patent, design, trade-name or trade-mark.

In addition, the Service provider/contractor shall, pursuant to this warranty, indemnify, defend and hold GOAL harmless from any actions or claims brought against GOAL pertaining to the alleged infringement of a patent, design, trade-name or trade-mark arising in connection with the goods sold under this Contract.

All maps, drawings, photographs, plans, reports, recommendations, estimates, documents and all other data compiled by or received by the Service provider/contractor under this Contract shall be the property of GOAL, and shall be treated as confidential and shall be delivered only to GOALs authorized officials on completion of work under this Contract

Unless authorised in writing by GOAL, the Service provider/contractor shall not advertise or otherwise make public the fact that he is a Service provider/contractor to GOAL or use the name, emblem or official seal of GOAL or any abbreviation of the name of GOAL for advertising purposes or for any other purposes.

1. TITLE RIGHTS

GOAL shall be entitled to all property rights including but not limited to patents, copyrights and trademarks, with regard to material which bears a direct relation to, or is made in consequence of, the services provided to the organisation by the Service provider/contractor. At the request of GOAL, the Service provider/contractor shall take all necessary steps, execute all necessary documents and generally assist in securing such property rights transferring them to the organisation in compliance with the requirements of the applicable law.

Title to any equipment and supplies which may be furnished by GOAL and any such equipment shall be returned to GOAL at the conclusion of this Contract or when no longer needed by the Service provider/contractor. Such equipment, when returned to GOAL, shall be in the same condition as when delivered to the Service provider/contractor, subject to normal wear and tear.

1. TITLE TO EQUIPMENT

Title to any equipment and supplies that may be furnished by GOAL shall rest with GOAL and any such equipment shall be returned to GOAL at the conclusion of this Contract or when no longer needed by the Service provider/contractor. Such equipment, when returned to GOAL, shall be in the same condition as when delivered to the Service provider/contractor, subject to normal wear and tear. The Service provider/contractor shall be liable to compensate GOAL for equipment determined to be damaged or degraded beyond normal wear and tear.

1. PACKING

The Service provider/contractor shall pack any goods with new, sound materials and with every care, in accordance with the normal commercial standards of export packing for the type of goods specified herein. Such packing materials used must be adequate to safeguard the goods while in transit. The Service provider/contractor shall be responsible for any damage or loss that can be shown to have resulted from faulty or inadequate packing.

1. SHIPMENT AND DELIVERY

All services and works shall be delivered at the agreed place of delivery as stated in the Contract, at the Service provider/contractor's risk, unless otherwise provided for in the Contract.

1. INSURANCE

The service provider/contractor shall provide and thereafter maintain for the duration of this contract and any extension thereof all appropriate workmen’s compensation insurance or its equivalent with respect to its employees to cover claims for personal injury and death in connection with this contract. The service provider/contractor shall, upon request, furnish proof to the satisfaction of the GOAL, of such liability insurance. The service provider/contractor shall further provide such health and medical insurance for its agents and employees, as the service provider/contractor may consider advisable. The service provider will in all cases ensure they have third party liability cover for the duration of the contract.

1. INDEMNIFICATION

The Supplier agrees to indemnify, hold and save GOAL harmless and defend at its own expense GOAL, its officers, agents and employees from and against all suits, claims, demands and liability of whatever nature or kind, including costs and expenses thereof and liability arising there from, with respect to, arising from or attributable to acts or omissions of the Supplier or its employees or sub-contractors in or relating to the performance of this Contract. This provision shall extend to, but shall not be limited to, product liability claims.

GOAL will promptly notify the Supplier of any such suit, claim, proceeding, demand or liability within a reasonable period of time after having received written notice thereof, and will reasonably cooperate with the Supplier, at the Supplier’s expense, in the investigation, defence or settlement thereof, subject to the privileges and immunities of GOAL.

The Supplier shall not permit any lien, attachment or other encumbrance by any person or entity to remain on file in any public or official office or on file with GOAL against any monies due or to become due for any work done or materials furnished under this Contract, or by reason of any other claim or demand against the Supplier.

1. TERMINATION OF CONTRACT

Either party may cancel this Contract before the expiry date of the Contract by giving notice in writing to the other party. The period of notice shall be 5 days in the case of contracts with a total period of less than two months or 14 days in the case of contracts with a longer period.

In the event of the Contract being terminated prior to its due expiry date in this way, the Service provider/contractor shall be compensated on a pro rata basis for no more than the actual amount of work performed to the satisfaction of GOAL. Additional costs incurred by GOAL resulting from the termination of the Contract by the Service provider/contractor may be withheld from any amount otherwise due to the Service provider/contractor from GOAL.

This contract shall be automatically terminated, and the Service provider/contractor shall have no right to any form of compensation, if it emerges that the award or execution of the contract has given rise to unusual commercial expenses.

Such unusual commercial expenses are commissions not mentioned in the main contract or not stemming from a properly concluded contract referring to the main contract, commissions not paid in return for any actual and legitimate service, commissions remitted to a tax haven, commissions paid to a recipient who is not clearly identified or commissions paid to a company which has every appearance of being a front company

GOAL reserves the right to withhold payments while any investigation is taking place into suspected wrongdoing or breaches of policy. GOAL reserves the right to make no payment of sums due (even when goods or services have been supplied), in instances where wrongdoing is present.

1. CONFIDENTIALITY

The Supplier shall not advertise or otherwise make public the fact that he is a Supplier to GOAL without specific approval from GOAL. Nor shall the Supplier in any manner whatsoever use the name of GOAL, or any abbreviation thereof, in connection with his business or otherwise. Non-observance of these conditions shall entitle GOAL to cancel the Contract, or any part thereof, and to hold the Supplier liable for any damages which GOAL has sustained as a result thereof.

1. DISPUTES - ARBITRATION

Any claim or controversy arising out of or relating to this or any contract resulting here from, or to the breach, termination or invalidity thereof, shall be, unless settled amicably through negotiation, submitted to arbitration in accordance with Irish law.

1. SETTLEMENT OF DISPUTES

The parties shall use their best efforts to settle amicably any dispute, controversy or claim arising out of or in connection with this Contract including any disputes regarding the existence, validity or termination. Where the parties wish to seek such an amicable settlement through conciliation, the conciliation shall take place in accordance with the UNCITRAL Conciliation Rules then obtaining, or according to such other procedure as may be agreed between the parties.

Unless, any such dispute, controversy or claim between the parties arising out of or relating to this Contract or the breach, existence, termination or invalidity thereof is settled amicably under the preceding paragraph of this article within sixty (60) days after receipt by one party of the other party's request for such amicable settlement, such dispute, controversy or claim shall be referred by either party to arbitration in accordance with the UNCITRAL Arbitration rules as at present in force, including its provision on applicable law. The place of arbitration shall be Ireland and the language to be used in the proceedings shall be English. The arbitral tribunal shall have no authority to award punitive damages. In addition, unless otherwise expressly provided in this Contract, the arbitral tribunal shall also have no authority to award interest. The parties shall be bound by any arbitration award rendered as a result of such arbitration and as being the final adjudication of any such dispute, controversy or claim.

1. WITHHOLDING TAX

GOAL reserves the right to deduct withholding tax from the service provider/contractor's invoice if so required by law. This will apply unless the service provider/contractor has supplied in advance the required documentation proving its exemption from withholding tax (e.g. withholding tax exemption certificate).

1. GOVERNING LAW AND JURISDICTION

These Terms and Conditions shall be governed by the laws of Ireland and subject to the exclusive jurisdiction of the Irish Courts.

1. BANK GUARANTEE

When specifically requested by GOAL, a bank guarantee from a well reputed bank acceptable to GOAL in the currency in which the Contract is payable and for an amount to be prescribed by GOAL shall be obtained by the Service provider/contractor at his expense and deposited with GOAL before start of the Contract. In the event of any loss, damage and/or extra costs incurred by GOAL by reason of the Service provider/contractor's default, negligence or failure to perform the terms and conditions of the Contract or any part thereof, that part of any such loss, damage and/or extra costs which is represented by the full or by any lesser amount of such guarantee shall be immediately and initially reimbursable to GOAL from such guarantee without prejudice to its right to hold the Service provider/contractor liable for the full amount of such loss, damage and/or extra cost. The guarantee shall be valid for a period of not less than 30 days after the services or works are confirmed as concluded by GOAL.

1. ENVIRONMENTAL STANDARDS

Service provider/contractors should as a minimum, comply with all statutory and other legal requirements relating to environmental impacts of their business. Areas which should be considered are:

* Waste Management
* Packaging and Paper
* Conservation
* Energy Use
* Sustainability
* Include something about raw materials/sourcing.
1. HUMAN TRAFFICKING

GOAL has adopted a policy supporting the prohibition of trafficking in persons including the trafficking-related activities for any purpose, including the use of forced labour. Service providers/contractors and their employees, and agents shall not: —

* Engage in severe forms of trafficking in persons during the period of performance of the contract;
* Procure commercial sex acts during the period of performance of the contract;
* Use forced labour in the performance of the contract;
* Destroy, conceal, confiscate, or otherwise deny access by an employee to the employee’s identity or immigration documents, such as passports or drivers' licenses, regardless of issuing authority;
* Use misleading or fraudulent practices during the recruitment of employees or offering of employment, such as failing to disclose, in a format and   language accessible to the worker, basic information or making material misrepresentations during the recruitment of employees regarding the key terms and conditions of employment, including wages and fringe benefits, the location of work, the living conditions, housing and associated costs (if employer or agent provided or arranged), any significant cost to be charged to the employee, and, if applicable, the hazardous nature of the work

Should the Service provider/contractor become aware of, or suspect, human trafficking activities during the execution of the contract the Contractor must immediately inform GOAL to enable appropriate action to be taken.

In respect to any contract funded by the UK Government the Service provider/contractor is expected to be familiar with the terms of the UK Modern-Slavery Act 2015, and to abide by the conditions of the Act.

# Appendix 4 – GDPR (General Data Protection Regulation) Terms and Conditions

1. *“****DATA PROTECTION***

*Definitions*

*The following words and phrases used in this [Agreement] and the Schedules shall have the following meanings except where the context otherwise requires:*

|  |  |
| --- | --- |
| *“Data Controller”* | *the party who (either alone or jointly or in common with other persons) determines the purposes for which and the manner in which any Personal Data are, or are to be, processed;* |
| *“Data Processor”* | *a person or entity who processes Personal Data on behalf of the Data Controller on the basis of a formal, written contract, but who is not an employee of the Data Controller.* |
| *“Data Subject”* | *an individual who is the subject of Personal Data, i.e. to whom the data relates either directly or indirectly;* |
| *“Data Protection Legislation”* | *all applicable privacy and data protection laws including the General Data Protection Regulation ((EU) 2016/679) and any applicable national implementing laws, regulations and secondary legislation in Ireland relating to the processing of Personal Data and the privacy of electronic communications, as amended, replaced or updated from time to time, including the Privacy and Electronic Communications Directive (2002/58/EC);*  |
| *“Personal Data”*  | *any information relating to an identified or identifiable natural person that is processed by the Provider as a result of, or in connection with, the provision of the Services. An identifiable natural person is one who can be identified, directly or indirectly, in particular by reference to an identifier such as a name, identification number, location data, an online identifier or to one or more factors specific to the physical, physiological, genetic, mental, economic, cultural or social identity of that natural person;* |
| *“Processing, processes and process”* | *either any activity that involves the use of Personal Data or as the Data Protection Legislation may otherwise define processing, processes or process. It includes any operation or set of operations which is performed on personal data or on sets of personal data, whether or not by automated means, such as collection, recording. organisation, structuring, storage, adaptation or alteration, retrieval, consultation, use, disclosure by transmission, dissemination or otherwise making available, alignment or combination, restriction, erasure or destruction. Processing also includes transferring Personal Data to third parties;* |
| *“SCC”* | *the European Commission's Standard Contractual Clauses for the transfer of Personal Data from the European Union to data processors established in third countries (controller-to-processor transfers), as set out in the annex to Commission Decision 2010/87/EU; and* |
| *“Services”*  | *refers to the services to be carried out by the Data Processor under the terms of the Master Agreement.* |

*The Parties acknowledge that for the purposes of Data Protection Legislation, in performing its obligations under this Agreement, the Supplier, to the extent that it processes Personal Data received from the Provider, is a "****Data Processor****" and the Provider is the "****Data Controller****"; as defined in the Data Protection Legislation.*

* 1. ***Data Controller Obligations***
1. *The Data Controller retains control of the Personal Data and remains responsible for its compliance obligations under the Data Protection Legislation, including for the processing instructions it gives to the Data Processor.*
2. *The Data Controller shall authorise the Data Processor to process the Personal Data in any manner that may reasonably be required in order to provide the Services and Annex A describes the subject matter, duration, nature and purpose of processing and the Personal Data categories and Data Subject types in respect thereof.*
	1. ***Data Processor Obligations***
3. *The Data Processor shall comply with the Data Protection Legislation when processing Personal Data.*
4. *The Data Processor shall act only on the written instructions of the Data Controller in relation to the processing of the Personal Data under this Agreement and shall promptly comply with any request or instruction from the Data Controller requiring the Data Processor to amend, transfer, delete or otherwise process the Personal Data, or to stop, mitigate or remedy any unauthorised processing.*
5. *Without prejudice to other legal provisions concerning the Data Subject’s right to compensation and liability of the Parties generally, as well as legal provisions concerning fines and penalties, the Data Processor will carry full liability in the instance where it is found to have infringed Data Protection Legislation, by determining the purposes and means of processing.*

***1.2.1 Use and Processing of Data***

*The Data Processor shall:*

1. *only use such Personal Data for the purposes of performing its obligations under this Agreement;*
2. *only process the Personal Data to the extent, and in such a manner, as is necessary in order to deliver the Services under this Agreement and in accordance with the Data Controller’s written instructions from time to time. The Data Processor will not process the Personal Data for any other purpose or in a way that does not comply with this Agreement or the Data Protection Legislation. The Data Processor must promptly notify the Data Controller if, in its opinion, the Data Controller's instruction or performance by the Data Processor of this Agreement would not comply with the Data Protection Legislation;*
3. *maintain the confidentiality of all Personal Data and shall not disclose Personal Data to any third party or allow any third party to use such data in any circumstances other than:*
4. *at the specific written request of the Data Controller;*
5. *where this Agreement specifically authorises the disclosure in order to deliver the Services;*
6. *in strict compliance with clause 1.2.6 of this Agreement; or*
7. *where such disclosure is required by law. If a law, court, regulator or supervisory authority requires the Data Processor to process or disclose Personal Data, the Data Processor must first inform the Data Controller of the legal or regulatory requirement and give the Data Controller an opportunity to object or challenge the requirement, unless the law prohibits such notice;*
8. *assist the Data Controller with undertaking an assessment of the impact of processing any Personal Data, and with any consultations with the Data Protection Commissioner or any other data protection or regulatory authority, if and to the extent an assessment or consultation is required to be carried under Data Protection Legislation; and*
9. *comply with any further written instructions with respect to processing by the Data Controller and any such further instructions shall be incorporated into Annex A.*

***1.2.2 Access to Information***

*The Data Processor shall:*

1. *upon the request of a Data Subject, inform such Data Subject that it is a Data Processor and that the other Party is a Data Controller;*
2. *inform the Data Controller immediately in the event of:*
3. *the exercise by any Data Subject of any rights under Data Protection Legislation in relation to any Personal Data;*
4. *a request to rectify, block or erase any Personal Data;*
5. *a request, complaint or communication relating to either Party’s obligations under the Data Protection legislation;*
6. *receiving any request from the Data Protection Commissioner or any other data protection or regulatory authority in connection with the Personal Data processed under this Agreement;*
7. *receiving any request from any third party for disclosure of Personal Data where compliance with such request is required or purported to be required by law.*
8. *co-operate with the Data Controller and provide assistance to deal with all requests and communications from Data Subjects and the Data Protection Commissioner or any other data protection or regulatory authority;*
9. *co-operate with and provide such information and access to any facilities, premises or equipment from or on which Personal Data is, has been, or is to be processed pursuant to this Agreement as the Data Controller may reasonably require to enable it to monitor compliance by the Data Processor with the obligations in this clause 1.2 of the Agreement;*
10. *maintain, and make available upon request by the Data Controller, acting reasonably, and/or the Data Protection Commissioner or any other competent data protection or privacy authority, a central register, in the form set out in Annex A below, which describes the processing for which the Data Processor is responsible and shall include:*
11. *the nature, duration and purpose(s) for which such Personal Data is processed;*
12. *a description of such Personal Data that it processes (including the categories of personal data and data subjects types);*
13. *any recipients of such Personal Data; and*
14. *the location(s) of any overseas processing of such Personal Data;*

***1.2.3 Disclosure and Data Sharing***

*The Data Processor (or any subcontractor) shall:*

1. *only disclose such Personal Data to, or allow access by, its employees, agents and delegates who have had appropriate training in data protection matters and whose use of such Personal Data is strictly necessary for the performance of the Services;*
2. *ensure all such employees, agents and delegates of the Data Processor who can/or do access such Personal Data are informed of its confidential nature and are bound by confidentiality obligations and use restrictions in respect of the Personal Data, including but not limited to a restriction on copying, publishing, disclosing or divulging such Personal Data to any third party without the prior written consent of the Data Controller;*
3. *not divulge such Personal Data whether directly or indirectly to any person or firm without the prior written consent of the Data Controller except, subject to clause 1.2.6 of the Agreement, to those of its employees, agents and delegates who are engaged in the processing of the Personal Data or except as may be required by any applicable laws or any court to which the data processor or its Affiliates are subject; and*
4. *not transfer or otherwise process any Personal Data to a third party outside the European Economic Area (EEA) except with the express prior written consent of the Data Controller.*
5. *Where such consent is granted, the Data Processor may only process, or permit the processing, of Personal Data outside the EEA under the following conditions:*
6. *the Data Processor is processing Personal Data in a territory which is subject to a current finding by the European Commission under the Data Protection Legislation that the territory provides adequate protection for the privacy rights of individuals. The Data Processor must identify in Annex A the territory that is subject to such an adequacy finding; or*
7. *the Data Processor participates in a valid cross-border transfer mechanism under the Data Protection Legislation, so that the Data Processor (and, where appropriate, the Data Controller) can ensure that appropriate safeguards are in place to ensure an adequate level of protection with respect to the privacy rights of Data Subjects as required by Article 46 of the General Data Protection Regulation ((EU) 2016/679). The Data Processor must identify in Annex A the transfer mechanism that enables the Parties to comply with these cross-border data transfer provisions and the Data Processor must immediately inform the Data Controller of any change to that status; or*
8. *the transfer otherwise complies with the Data Protection Legislation for the reasons set out in Annex A.*
9. *If any Personal Data transfer between the Data Controller and the Data Processor requires execution of SCC in order to comply with the Data Protection Legislation (where the Data Controller is the entity exporting Personal Data to the Data Processor outside the EEA), the Parties will complete all relevant details in, and execute, the SCC, and take all other actions required to legitimise the transfer.*
10. *If the Data Controller consents to appointment by the Data Processor located within the EEA of a subcontractor located outside the EEA in compliance with the provisions of this Clause 1.2.3, then the Data Processor must identify valid cross-border transfer mechanism which may include the entry into of a SCC with such subcontractor, which shall be put in place prior to any such transfers.*

***1.2.4 Security Systems***

*The Data Processor shall:*

1. *at all times during the term of this Agreement, implement appropriate technical and organisational measures to protect such Personal Data held or processed by it against unauthorised or unlawful processing and against accidental and unlawful loss, destruction, alteration, disclosure or damage.*
2. *promptly upon becoming aware of the above, notify the Data Controller of any actual or suspected incident of unauthorised or unlawful processing or accidental loss, destruction or damage to Personal Data and provide all co-operation and information reasonably required by the Data Controller in relation to the incident; including corrective action unless such action is contrary to the law.*

***1.2.5 Data Retention and Disposal***

*The Data Processor shall:*

1. *promptly upon termination or expiry of this Agreement and, at any other time, on request by the Data Controller, return to the Data Controller or delete all Personal Data, including that of employees of the Data Controller, together with all copies thereof in any media in its power, possession or control, except to the extent the Data Processor is required to retain a copy of such Personal Data to comply with Data Protection Legislation.*
2. *promptly upon becoming aware of the same and without undue delay, notify the Data Controller of any actual or suspected incident of accidental, unauthorised, or unlawful destruction or disclosure of or access to Personal Data, including where Personal Data is lost or destroyed, becomes damaged, corrupted or unusable and shall provide all co-operation and information reasonably required by the Data Controller in relation to the incident; including:*
3. *description of the nature of such incident, including the categories and approximate number of both Data Subjects and Personal Data records concerned;*
4. *the likely consequences; and*
5. *description of the measures taken and corrective action, or proposed to be taken to address such incident, including measures to mitigate its possible adverse effects, unless such action or measures are contrary to the law. The Data Processor shall provide such corrective action and measures at its own expense.*
6. *immediately following any accidental, unauthorised, or unlawful incident, the Parties will co-ordinate with each other to investigate the matter. The Data Processor will co-operate with the Data Controller in the Data Controller's handling of the matter, including:*
7. *assisting with any investigation;*
8. *providing the Data Controller with physical access to any facilities and operations affected;*
9. *facilitating interviews with the Data Processor's employees, former employees and others involved in the matter;*
10. *making available all relevant records, logs, files, data reporting and other materials required to comply with all Data Protection Legislation or as otherwise reasonably required by the Data Controller; and*
11. *taking reasonable and prompt steps to mitigate the effects and to minimise any damage resulting from such incident or unlawful Personal Data processing.*
12. *The Data Processor will not inform any third party of any such incident without first obtaining the Data Controller's prior written consent, except when required to do so by law.*
13. *The Data Processor agrees that the Data Controller has the sole right to determine:*
14. *whether to provide notice of such incident to any Data Subjects, supervisory authorities, regulators, law enforcement agencies or others, as required by law or regulation or in the Data Controller's discretion, including the contents and delivery method of the notice; and*
15. *whether to offer any type of remedy to affected Data Subjects, including the nature and extent of such remedy.*
16. *The Data Processor will cover all reasonable expenses associated with the performance of the obligations under clause 1.2.5 of this Agreement unless the matter arose from the Data Controller's negligence, wilful default or breach of this Agreement.*
17. *The Data Processor will also reimburse the Data Controller for actual reasonable expenses that the Data Controller incurs when responding to such incident to the extent that the Data Processor caused such incident, including all costs of notice and any remedy.*

***1.2.6 Third Parties***

*The Data Processor shall:*

1. *not engage any sub-contractor to assist it in the fulfilment of its obligations under the Agreement without the prior written consent of the Data Controller and unless there is a written contract in place between the Data Processor and the sub-contractor which requires the sub-contractor to:*
2. *only carry out processing as may be necessary from time to time for the purposes of its engagement by the Data Processor in connection with the Agreement;*
3. *comply with obligations equivalent to those imposed on the Data Processor in this Clause 1.2 of the Agreement;*
4. *notify the Data Controller of any changes to the sub-contractor or the written contract;*
5. *ensure that, in the event of delegation to an affiliate or other delegate, or the appointment of an agent, such affiliate, delegate or agent shall comply with obligations equivalent to those imposed on the Data Processor in this Clause 1.2 of the Agreement; and*
6. *remain fully liable for all acts or omissions of any sub-contractor and/or affiliate.*

***1.2.7 Right of Audit***

*The Data Processor shall:*

1. *without unreasonable delay, provide a copy of all data and data-related activity logs maintained by the Data Processor and other related information to the Data Controller upon receipt of a written request by the Data Controller or a request in the course of an audit or inspection. Such data shall be provided in the format and on media as reasonably specified by the Data Controller; and*
2. *agree that where a sub-contractor has been engaged by the Data processor, the Data Controller may, upon giving reasonable notice and within normal business hours, carry out similar compliance and information security audits and checks of the sub-contractor to ensure adherence to the terms of this Agreement, in the manner as set out in clause 1.2.2 of this Agreement.*

*\*\*\*\*\*\*\*\*\**

**BIDDER’S SIGNATURE.**

I have read and understood this document

Signed……………………………………… Date……………………………

Name: ……………………………………..

Position: ……………………………………

Organisation/Company: ………………………………………………………………

1. [↑](#footnote-ref-2)