## Total cost
GOAL GLOBAL Invitation to Tender (ITT) ref. G-SY-ANK-W-21579
Total Cost of Ownership Financial Offer Sheet- Genset for Sijer water station, Syria Tenderers to fill in yellow cells.
Cost Category | # | Description | Unit of Measurement | Quantity required | Delivery location | Incoterms | Unit cost offered | Total cost offered | Delivery location and Incoterms offered | Warranty offered | Brand/Model | Country of manufacturing | Lead time for delivery to final destination | Comments
Hardware | 1 | Medium voltage generating set (as per specifications in Annex 1- genset, engine and alternator) | Piece | 1 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020 unloaded (for Option 1 &2) CIF THC included Incoterms 2020 (for Option 3)
| 2 | Additional warranty | _ | _ | _ | _
| 3 | Providing and installing 6.6 KV Copper Conductors XLPE Insulated Medium Voltage Cable | Piece | 35 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020 unloaded (for Option 1 &2) CIF THC included Incoterms 2020 (for Option 3) |  | 0
| 4 | Preventive maintenance spare parts (As per Annex 2). | Piece | See 2nd tab | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020 unloaded (for Option 1 &2) CIF THC included Incoterms 2020 (for Option 3) | Please list in 2nd tab | 0 | 0 | 0 | 0 | 0 | 0
Technical support and training | 5 | Installation and comissioning | _ |  | Sijer Water Unit, North West Syria | _ | NA
| 6 | Testing (operation on full load for 100h) | _ |  | Sijer Water Unit, North West Syria | _ | NA
| 7 | Training to GOAL staff & Water Unit staff (4 people in total- station engineer and electrician from the Water Unit and 2 WASH Engineers from GOAL) | _ |  | Sijer Water Unit, North West Syria | _ | NA
Transport & other costs | 8 | All Transportation Costs on DDP Incoterms 2020 to Sijer Water Unit, North West Syria (Option 1)* |  |  |  |  | NA
| 9 | All Transportation Costs on DDP Incoterms 2020 to Zero Point (Cilvegözü) (Option 2)* |  |  |  |  | NA
| 10 | All Transportation Costs on CIF THC included Incoterms 2020 to Mersin port (Option 3)*
| 11 | Customs charges & Import Duties (if applicable) |  |  |  |  | NA
| 12 | Insurances (if applicable) |  |  |  |  | NA
| 13 | Applicable Taxes (VAT) (if applicable) |  |  |  |  | NA
| 14 | Other charges (please specify) |  |  |  |  | NA
|  | TOTAL COST (USD) | 0
* Preferred transport is Option 1 to Sijer Water Unit. Tenderers to privide a quotation of their transport method offered as per the outlines 2 options.
Company Name
Name of signatory
Date:

## Preventive maintenance spare pa
GOAL GLOBAL Invitation to Tender (ITT) ref. G-SY-ANK-W-21579
Total Cost of Ownership Financial Offer Sheet- Genset for Sijer water station, Syria Below list of spare parts need to be delivered together with the generator. Total cost of preventive maintenance spare parts will be taken into account for the Total cost analysis of this tender. Tenderers to fill in yellow cells.
# | Description | Unit of Measurement | Quantity required | Delivery location | Incoterms | Unit cost offered (USD) | Total cost offered (USD) | Delivery location and Incoterms offered | Warranty offered | Brand/Model | Country of manufacturing | Lead time for delivery to final destination | Comments
1 | Air filter | Piece | 2 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020
2 | Oil filter | Piece | 15 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020
3 | Fuel filter | Piece | 15 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020
4 | Drive belts | Piece | 2 | Option 1 (preferred): Sijer Water Unit, North West Syria Option 2: Zero Point (Cilvegözü) Option 3: Mersin port, Turkey | DDP Incoterms 2020
| TOTAL COST (USD) | 0
Company Name
Name of signatory
Date:

## Generator spare parts
GOAL GLOBAL Invitation to Tender (ITT) ref. G-SY-ANK-W-21579
Total Cost of Ownership Financial Offer Sheet- Genset for Sijer water station, Syria GOAL is requesting tenderers to list the most common spare parts for the offered generator and corresponding costs. GOAL will analyse and decide whether to enter into a separate agreement for the supply of spare parts for a period of 1 year with the possibility of additional 1+1 year extension. Spare parts costs will not be taken into consideration for the award of this tender. Tenderers to fill in yellow cells.
# | Description | Unit of Measurement | Quantity required | Delivery location | Incoterms | Unit cost offered (USD) | Total cost offered (USD) | Delivery location and Incoterms offered | Warranty offered | Brand/Model | Country of manufacturing | Lead time for delivery to final destination | Comments
1 | Please list | Piece | 1 | Sijer Water Unit, North West Syria or Zero Point (Cilvegözü) | DDP Incoterms 2020
2 | Please list | Piece | 1 | Sijer Water Unit, North West Syria or Zero Point (Cilvegözü) | DDP Incoterms 2020
3 | Please list | Piece | 1 | Sijer Water Unit, North West Syria or Zero Point (Cilvegözü) | DDP Incoterms 2020
4 | Please list | Piece | 1 | Sijer Water Unit, North West Syria or Zero Point (Cilvegözü) | DDP Incoterms 2020
Please add raws as needed
Company Name
Name of signatory
Date: