Detailed Scope of Construction

Timber/Wood Market Structure

Project Overview

Project Name: Tambakula Community Market Construction

Location: Tambakula, Freetown, Sierra Leone

Implementing Organization: GOAL Sierra Leone

Structure Type: Open-air market with timber/wood framework

Total Market Size: 26.45 meters (length) × 9.75 meters (width)

1. Structural Framework

Primary Material:

Treated hardwood timber for durability and resistance to termites and weather

Foundation:

- Concrete pad or isolated footings for each column post

- Anti-termite treatment at base

Columns and Beams:

- Vertical timber posts spaced at regular intervals (approx. every 3m)

- Horizontal beams to support roofing and provide structural integrity

Walling:

- Partial timber cladding (up to 1.2m height) for ventilation and security

- Open upper sections for airflow and natural lighting

2. Roofing

Roof Type:

- Gable or mono-pitch roof

Material:

- Corrugated galvanized iron (CGI) sheets or aluminum roofing sheets

Support:

- Timber trusses and purlins

Rainwater Management:

- Gutters and downpipes to direct rainwater to soakaway or collection tank

3. Market Tables and Layout

Table Size:

  - 1.2m × 1.5m per vendor

Table Material:

  - Hardwood timber with smooth finish

Table Arrangement:

  - Approx. 4 rows of tables with central and side aisles

Estimated capacity:

  - 52 tables (depending on aisle width and circulation space)

Accessibility:

  - Minimum 1.2m wide aisles for pedestrian flow and accessibility

4. Electrical Installation

Power Source:

- Connection to solar powered system and or national grid (if feasible)

Lighting:

  - Overhead LED lights for general illumination

  - Task lighting for vendor tables

Sockets & Wiring:

  - Weatherproof electrical outlets for vendor use

  - Conduits and circuit breakers for safety

Security Lighting:

- External floodlights for night-time security

Solar Power System Installation

Components:

- Solar panels sized to meet facility energy demands.

- Deep-cycle batteries for energy storage.

- Hybrid inverter with automatic changeover functionality.

Installation:

- Mounting panels on roof or ground structures.

- Wiring and integration with facility’s electrical system.

- Provision for grid-tie connection (if feasible with local utility).

Installation of 6 Solar Security Street Lights

Components:

- Solar-powered LED street lights with motion sensors.

- Metal poles (galvanized, minimum 4m height).

Installation:

- Strategic placement around facility perimeter.

- Concrete bases and anchoring.

- Wiring and commissioning.

Testing & Commissioning:

- Load testing and performance verification.

- User training and maintenance documentation.

5. Sanitation and Waste Management

Septic System:

  - Primary Tank: 10,000-liter septic tank for solid waste

  - Secondary Tank: 5,000-liter holding tank for initial faecal water collection

  - Soakaway Pit: For final effluent dispersion

Toilet Facilities:

  - Gender-separated stalls (minimum 2 per gender)

  - Handwashing stations with soap dispensers

Drainage:

  - Surface water drainage channels to prevent flooding

  - Covered drains to avoid blockages

6. Safety and Accessibility

Fire Safety:

  - 2-Fire extinguishers at strategic points

  - Fire-resistant treatment for timber

Accessibility:

  - Ramps for persons with disabilities

  - Clear signage and emergency exits

7. Environmental and Community Considerations

Sustainability:

  - Use of locally sourced, sustainably harvested timber

  - Rainwater harvesting potential

Community Engagement:

  - Involvement of local labor and artisans

  - Vendor training on hygiene and waste management

8. Scope of Work: Fish Processing & Value Addition Centre (Guting Space)

Construction of Fish Processing and Value Addition Centre

Site Preparation:

- Clearing, leveling, and compacting the land.

Structural Works:

- Foundation, walls, roofing, and flooring suitable for food-grade operations.

- Ventilation and insulation to support hygienic processing.

Internal Layout:

- Dedicated zones for cleaning, filleting, packaging, and storage.

- Installation of stainless-steel work surfaces and drainage systems.

Utilities:

- Electrical wiring, plumbing, and lighting.

- Fire safety equipment and emergency exits.

9. Provision and Installation of 450L AC Freezers

Procurement:

- Energy-efficient 450-litre capacity freezers (AC powered).

Installation:

- Placement in designated cold storage area.

- Electrical connection and performance testing.

Warranty & Support:

- Manufacturer’s warranty and service plan.

10. Provision and Installation of 350L DC Freezers

Procurement:

- 350-litre DC freezers suitable for solar operation.

Solar Setup:

- Dedicated solar panels sized for freezer load.

- Charge controllers and batteries for autonomous operation.

Installation:

- Secure placement and wiring.

- Performance testing and user orientation.

11. Erection of Wooden Shed with Sanitary Facilities

Structure:

- Timber-framed shed with roofing and ventilation.

Sanitary Installations:

- 4 toilets (flush or eco-friendly depending on water availability).

2 wash hand basins with plumbing.

Water Connection:

- Linked to water tank system

- Finishing:

- Doors, locks, signage, and basic lighting.

. Erection of Wooden Shed with Sanitary Facilities

Structure:

- Timber-framed shed with roofing and ventilation.

Sanitary Installations:

- 4 toilets (flush or eco-friendly depending on water availability).

2 wash hand basins with plumbing.

Water Connection:

- Linked to water tank system (see item 7).

- Finishing:

- Doors, locks, signage, and basic lighting.