Clarifications issue date : 12th Dec 2025

Clarification requests : 2

| # | Questions | Answer |
| --- | --- | --- |
| 1 | Solarization of Water Supply Scheme in Somalia, Afar, and Tigray Regions, Ref: ITT-ADD-BSE-44315. We kindly request clarification on the following points: - Cable Length Inconsistency: The power cable lengths indicated in the BOQ differ from those provided in the design data. We respectfully request clarification on the correct power cable length and the dry-run sensor cable length for Lots 1 to 4, taking into consideration the pump installation depth/position for each lot. | As given in Clarification issued on 3rd Dec 2025, please consider the following for the pump description, pump position including the dry-run sensor cable size: Power cable length. As the locations are on spot please add additional 30 meters in addition to the pump position (163 + 30 = 193 for the case of Kebribeyah) as the pumps are required to be delivered with the appropriate cable size and the dry-run sensor cable length should be similar with power cable length.The Cable length referred in Part B-Power supply cable is mainly for connecting the controller to the changeover switch |
| 2 | - Lot 4 Pump and Cable Specification: In Lot 4, the 18.5 kW solar pump quantity is listed as zero in the BOQ, and the required 3×16 mm² power cable is shown as unspecified. We kindly request that you confirm the correct quantity of the pump and specify the required power cable quantity. We appreciate your support and look forward to your prompt clarification. | - May Nebri WSS (LOT 4) didn’t require pump and power cable it is available on-site |