- Who is responsible for the procurement of permits from the relevant authorities and who is responsible for restoration to carriageways and sidewalks?

A.  The Bidder is responsible for obtaining all necessary permits from the relevant authorities. The Bidder is also responsible for restoring any affected carriageways and sidewalks after the works are completed. These costs must be included in the bid price.

- Can the survey reports and locations of the poles be shared?

- Yes, the presentation used during the pre-bid meeting will be shared with the bidders and the map showing the locations will also be shared.

- Are there allowances for variations?

The project has been thoroughly designed, and no variations are expected during the procurement stage. However, limited variations may occur during implementation due to unforeseen circumstances. The overall budget is fixed, and any approved variations must be managed within the existing allocation.

- Were the GPS locations pegged on the ground?

- No, the locations will be pegged by the successful bidder

- Can bidders procure the lights from any manufacturer?

- Yes. Bidders may procure lights from any manufacturer, provided the products comply with recognized international certifications such as CE or ISO. Certification from national road safety authorities will also be considered during evaluation. Documentation of compliance must be submitted with the bid.

.