Clarifications issue date : 17th April 2026

Clarification requests : 1

| # | Questions | Answer |
| --- | --- | --- |
| 1 | Fence Material Specification The BOQ specifies 40×40×3 mm angle iron, whereas the technical specification indicates 50×50×3 mm angle iron. Kindly confirm which specification we should proceed with. | 40×40×3 mm angle iron is the requirement for fencing |
| 2 | DC Cable Quantity The BOQ item number 3 indicates 120 meters of 6 mm² DC cable. However, this quantity appears insufficient for the installation of 75 solar panels. We propose to proceed based on our design calculations to ensure proper system performance. Kindly review and confirm if this approach is acceptable. | The cable length depends on the string configuration and location of combiner box from the PV array. Accordingly, a conservative estimate of 120 meters is considered. Please don't change the quantity. |
| 3 | Panel Support Structure The BOQ specifies a panel support structure using 60×30×4 mm C-channel and 200×200×4 mm base plate. Can we proceed the structure ‘’ Stand from 2-inch GI Pipe, horizontal support from 1.5-inch GI Pipe and 40x40x3mm Angle iron. | There is no problem to proceed with your recommendations as long as the base plate is 4 mm. |
| 4 | Site Location Clarification The site location is indicated only as Dhas Woreda, Dhadacha Babala, East Borena Zone. We kindly request more precise location details to assess site accessibility and logistics. | The site details are provided in the technical assessment. GPS: 4.13798463 N, 38.93620920 E |